# Text boxes

Recommendations for making

ACIDIFIED SODIUM CHLORITE SOLUTIONS.

STEP1:

Determine the desired concentration of product (eg. 20ppm) to treat the specific pathogen or application (refer to product recommendations or contact a Biosafel Technologies  Representative).

STEP2:

Consider the volume of water that is used for each application. (i.e. 1000 Litre dip bath).

STEP3:

Using the attached “BioSafe 5 Addition Rate Table”, calculate the amount of BioSafe5 concentrate required. Example:  1litre of BioSafe 5 is required to treat 1000litres of water at 20ppm.

STEP4:

Calculate the amount of Citric Activator required.

Citric Activator, require 1 part liquid Citric Activator to 5 parts BioSafe 5. Example: you require 200mls of Citric Activator to 1 Litre of BioSafe 5 (as in step 3 above) to treat 1000Litres of water at 20ppm.

STEP5:

Measure the Citric Activator and BioSafe 5 volumes into separate containers.

STEP6:

Add the Citric Activator to the BioSafe 5 solution, and allow to mixed solution to sit for 5 – 10min.

STEP 7:

Finally, add the activated BioSafe solution to the water to be treated.

NOTE:

Ensure That Activation Takes Place In A Cool and Well Ventilated Area. Suitable Personal Protective Equipment Must Be Worn (See MSDS)

Do Not Inhale Vapours Produced While Activation Takes Place.